# UNABARA Z Axis-2F

## Dual-Frequency Single-Beam Echo Sounder

### Overview

The Unabara Z Axis-2F is a compact dual-frequency echo sounder designed for hydrographic surveying and shallow-water bathymetric applications. The system combines a 200 kHz high-frequency channel with a selectable low-frequency channel to provide reliable tracking and bathymetric data.

## Key Specifications

| Parameter | Specification |
| --- | --- |
| High Frequency | 200 kHz |
| Low Frequency | Selectable 10–30 kHz |
| Depth Range | Approximately 0.24–100 m |
| Ping Rates | 5, 10, or 20 Hz |
| Beam Widths | 5° and 3.5° |
| Power Requirements | 12 VDC |
| Typical Power Consumption | 150 mA |
| Interfaces | USB and RS-232 |
| Data Outputs | NMEA-XDR, ODOM DBT, DESO-20 |

## Main Features

- Dual-frequency operation for bathymetry and sediment studies.

- Automatic bottom detection and tracking.

- Compact design suitable for portable survey operations.

- Small acoustic footprint for improved resolution.

- Compatible with numerous hydrographic survey packages.

- Low power consumption for field deployments.

## Typical Applications

- Hydrographic surveys

- Waterway and channel monitoring

- Dredging support

- Reservoir and lake mapping

- Sedimentation studies

- Shallow-water bathymetry

## Software Compatibility

The Z Axis-2F is compatible with a variety of survey software packages, including:

- HydroMagic

- HYPACK

- Trimble systems

- Carlson software

- Leica systems

- Topcon systems

## Available Accessories

Optional accessories include:

- Survey pole adapter

- Pole extension sections

- Tilting mounting bracket

- Extension cables

- Portable battery pack

- Protective carrying case

### Manufacturer

Unabara Hydrographics

For additional information, detailed operating procedures, and configuration guidance, please refer to the complete instrument documentation available from Unabara Hydrographics.